## BMED 712

## Spring  2026

## PBL Structure

1 – Clinical Understanding & Problem Framing

- Clinical background research

- Stakeholder needs mapping (patient, therapist, physician)

- Define engineering requirements

2 – Solution Design & Feasibility

- System architecture

- Sensors, algorithms, workflows

- Risk analysis & validation plan

3 – Translation & Communication

- Clinical impact justification

- Prototype sketches / block diagrams

- Final presentation + clinician-style summary

Below are clinically grounded PBL example problems suitable for a 3-week undergraduate Biomedical Engineering (BME) course focused on Neurology and Rehabilitation, aligned with real referral-style challenges typically seen at Cleveland Clinic Abu Dhabi (CCAD) and Specialized Rehabilitation (SRH).

Each problem is intentionally open-ended, multidisciplinary, and scoped for teams of 3 students

## PBL Problem 1: Post-Stroke Gait Asymmetry & Fall Risk

Clinical scenario (from SSRC):
A 62-year-old male, 6 months post-ischemic stroke, presents with persistent gait asymmetry and frequent near-falls during community ambulation. Force-plate access is limited, and clinicians rely mainly on observational gait assessment.

Engineering challenge:
Design a wearable or clinic-deployable system to quantify gait asymmetry and loading deficits and translate results into actionable rehab metrics.

Key constraints

- Low cost and deployable outside gait labs

- Interpretable outputs for physiotherapists

- Minimal setup time (<5 minutes)

Student deliverables

- Biomechanical rationale (e.g., GRF surrogates, stance asymmetry)

- Sensor selection (IMUs, pressure insoles, EMG, etc.)

- Signal processing + basic validation plan

- Dashboard mock-up for clinicians

- Ethical & usability considerations

## PBL Problem 2: Monitoring Neuroplastic Recovery After Stroke

Clinical scenario (from CCAD Neuro-Rehab):
Therapists observe functional improvement in upper-limb tasks, but lack objective markers of neuroplastic recovery to guide therapy intensity.

Engineering challenge:
Propose a non-invasive neurophysiological monitoring framework to track recovery over a 12-week rehabilitation program.

Key constraints

- Non-invasive and patient-tolerant

- Repeatable across sessions

- Clinically interpretable (not just raw EEG metrics)

Student deliverables

- Choice of modality (EEG, fNIRS, or multimodal)

- Proposed biomarkers (e.g., coherence, laterality index)

- Experimental protocol embedded in therapy

- Clinical interpretation guide (what does “improvement” mean?)

- Limitations and validation strategy

## PBL Problem 3: Detecting Freezing of Gait in Parkinson’s Disease

Clinical scenario (from CCAD Movement Disorders Clinic):
Patients with Parkinson’s disease report episodic freezing of gait (FoG) at home, but symptoms are rarely captured during clinic visits.

Engineering challenge:
Design a home-monitoring system that can detect FoG episodes and provide meaningful summaries to clinicians.

Key constraints

- Home-based, unsupervised use

- Low false positives

- Minimal patient burden

Student deliverables

- Sensor and placement strategy

- FoG detection logic (rule-based or ML-assisted)

- Data visualization for neurologists

- Discussion of privacy and long-term adherence

- Proposed clinical impact

## PBL Problem 4: Personalized Upper-Limb Rehab After Traumatic Brain Injury

Clinical scenario (from SSRC):
Two TBI patients with similar clinical scores respond very differently to the same robotic therapy protocol.

Engineering challenge:
Develop a patient-adaptive rehabilitation system that personalizes therapy based on real-time physiological or biomechanical feedback.

Key constraints

- Adaptation must be explainable to clinicians

- No increase in therapy session duration

- Compatible with existing rehab workflows

Student deliverables

- Personalization parameters (EMG, kinematics, fatigue indices)

- Control/adaptation concept (logic diagram)

- Safety considerations

- Expected benefits vs standard therapy

- Evaluation metrics

## PBL Problem 5: Cognitive-Motor Interference During Rehabilitation

Clinical scenario (from CCAD Rehab):
Patients walk well in therapy rooms but deteriorate significantly in real-world environments requiring attention and decision-making.

Engineering challenge:
Design an assessment or training system that quantifies and rehabilitates cognitive-motor interference (CMI).

Key constraints

- Safe for neurological patients

- Clinically scalable

- Objective outcome metrics

Student deliverables

- Task design (dual-task or VR-based)

- Physiological/behavioral metrics (EEG, HRV, gait)

- Scoring framework for clinicians

- Ethical and accessibility considerations

- Pathway to clinical adoption

PBL Problem 6: Rapid Stroke Triage Beyond Imaging

Clinical context (Emergency & Stroke Program):
In the hyperacute stroke pathway, imaging determines eligibility for thrombectomy or thrombolysis. However, imaging access and turnaround time can delay decision-making, especially during peak hours.

Engineering challenge:
Design a bedside or pre-imaging decision-support system that integrates physiological, neurological, or behavioral markers to support rapid stroke severity stratification.

Constraints

- Must complement—not replace—imaging

- Fast (<5 minutes), minimal setup

- Outputs interpretable by emergency clinicians

Expected focus

- Signal sources (EEG, vitals, speech, eye movement, motor asymmetry)

- Feature selection linked to stroke severity

- Clinical workflow integration and risk mitigation

## PBL Problem 7: Objective Localization Support in Drug-Resistant Epilepsy

Clinical context (Epilepsy Program):
Patients with drug-resistant epilepsy undergo prolonged EEG monitoring, yet manual review and seizure localization remain time-intensive and subjective.

Engineering challenge:
Propose an engineering tool or pipeline that assists clinicians in identifying seizure onset zones or abnormal network patterns from EEG or multimodal data.

Constraints

- Assistive (not autonomous) system

- Explainable outputs for neurologists

- Must handle noisy, long-duration recordings

Expected focus

- Signal processing / AI logic (classical or ML-based)

- Visualization of spatiotemporal patterns

- Validation strategy against expert annotations

## PBL Problem 8: Predicting Functional Decline in Parkinson’s Disease

Clinical context (Movement Disorders Clinic):
PD progression is heterogeneous. Some patients experience rapid gait deterioration and freezing of gait, while others remain stable for years.

Engineering challenge:
Design a longitudinal monitoring solution to identify early markers of functional decline and support personalized treatment planning.

Constraints

- Suitable for home or outpatient use

- Long-term adherence

- Clinically meaningful summaries (not raw data)

Expected focus

- Wearables (IMUs, pressure, EMG) or hybrid systems

- Progression biomarkers (variability, asymmetry, event frequency)

- Ethical considerations and patient burden

## PBL Problem 9: Surgical Outcome Prediction in Functional Neurosurgery

Clinical context (Neurosurgery & DBS Program):
Patients undergoing deep brain stimulation (DBS) or other functional neurosurgical procedures show variable outcomes, even with similar clinical profiles.

Engineering challenge:
Develop a pre-operative or peri-operative decision-support concept to predict functional outcomes or optimize targeting.

Constraints

- Must integrate with surgical planning workflows

- Interpretability is critical

- Small, heterogeneous datasets

Expected focus

- Data fusion (imaging, clinical scores, electrophysiology)

- Risk–benefit modeling

- Communication of uncertainty to surgeons and patients

## PBL Problem 10: Quantifying Fatigue and Relapse Risk in Multiple Sclerosis

Clinical context (MS Program & Rehabilitation):
Fatigue is one of the most disabling MS symptoms, yet it is largely self-reported and poorly captured by routine clinical metrics.

Engineering challenge:
Design an objective assessment framework to quantify fatigue, mobility decline, or relapse risk during daily life or rehabilitation.

Constraints

- Sensitive to day-to-day variability

- Non-burdensome for patients

- Actionable for neurologists and therapists

Expected focus

- Multimodal sensing (activity, physiology, cognition)

- Fatigue indices and trend analysis

- Clinical interpretation and limitations

## PBL Problem 11: Rehabilitation Technology That Transfers to the Real World

Clinical context (Neuro-Rehab Program):
Patients often perform well in structured therapy environments but fail to transfer gains to real-world tasks requiring attention, decision-making, and adaptability.

Engineering challenge:
Propose a rehabilitation technology or assessment system that targets cognitive-motor integration and predicts real-world functional carryover.

Constraints

- Safe for neurological populations

- Scalable within a hospital rehab program

- Objective outcome metrics

Expected focus

- Task design (dual-task, VR, adaptive feedback)

- Physiological + behavioral metrics

- Translation to discharge planning